## Stormwater Acceptance and Transfer of Maintenance Responsibility

Project Name:

SWMP Number:

Date:

The Record Drawing package has been submitted to EHS Stormwater, certifying that the as-built conditions meet the design standards and satisfy the intent of the stormwater management design.  EHS Stormwater has inspected this project and accepts it under the NC State University Stormwater Management Plan for the following actions (check all that apply):

Erosion and Sediment Controls

☐	Permanent stabilization and/or planting has been completed; erosion and sediment control permits are closed out.

☐	Permanent stabilization and/or planting has not yet been completed.  The owner is responsible for the following outstanding permit requirements:

☐	Accepting responsibility for erosion and sediment controls as required by NC Department of Environmental Quality and EHS Stormwater, including maintenance of erosion and sediment controls, weekly self-inspections and any outstanding requirements of the NCG01 permit and approved Stormwater Management Plan*

☐	Establishment of permanent vegetation, ground cover and/or other permanent stabilization

☐	Final removal of temporary erosion and sediment controls

☐	Closeout of erosion and sediment control permits

*If the NCG01 permit has not yet been closed out, the Project Manager must notify the NC Department of Environmental Quality of new project contact(s) and responsibility.

Stormwater Infrasturcture

For compliance with the NC State University’s National Pollutant Discharge Elimination System (NPDES) Permit No. NCS000376 and Stormwater Management Plan, all SCM and storm drain infrastructure is required to be inspected and maintained. Inspections and maintenance agreements in place for this infrastructure must now begin or resume. Stormwater design, control elevations, and operation and maintenance details are included in the Record Drawings. Annual Certifications of Inspections and Maintenance must be submitted each year to EHS Stormwater by July 1.

Stormwater Control Measures

☐	This project was exempt from providing any stormwater control measures (SCMs).

☐	The owner assumes responsibility for the installation of specialized plantings for the SCMs in accordance with the approved plans.

☐	The owner assumes responsibility for required post-storm, monthly, and annual inspections and maintenance requirements of the SCMs.

Stormwater Conveyance

☐	This project did not include any stormwater conveyance or storm drain infrastructure.

☐	The owner assumes responsibility for final flushing and collection of fines from storm drain infrastructure.

☐	The owner assumes responsibility for ongoing inspection and maintenance of the storm drain infrastructure.

☐	Other:	_______________________________________________________________________

__________________________________________________________________________________________________________________________________________________________

| Professional Engineer Certification I hereby certify that the as-built conditions herein have been verified to meet all state and local stormwater design standards. The as-built conditions fully satisfy the intent of the design. ______________________________________ Professional Engineer’s Signature ______________________________________ Printed Name ______________________________________ Date ______________________________________ License No. Exp Date |  |
| --- | --- |

Stormwater Acceptance

| EHS Stormwater Representative ______________________________________ Signature ______________________________________ Printed Name ______________________________________ Date | Owner/Representative of Maintenance Responsibility ______________________________________ Signature ______________________________________ Printed Name ______________________________________ Department or Company ______________________________________ Date |
| --- | --- |